Jay Vizgaitis

Optics 521

Summary of paper entitled “Athermalization of optical instruments from the optomechanical viewpoint” by Thomas H. Jamieson

The purpose of this paper being reviewed can be gleamed from the title.  It is an excellent paper on the impact of temperature on optical systems.  The author discusses the impact of temperature effects, both uniform soak and gradients, on optical systems, and how to correct for them.  Cases using glasses, plastics, liquids, infrared materials, and reflective materials are discussed.  This is a brief review of the most important concepts from the paper.  The paper itself goes into more details and provides many more examples than this summary.

# Introduction

Athermalization is the principle of stabilizing the optical performance with respect to temperature.  Any temperature changes experienced by the optics may be with respect to time or space or both.  Time refers to a uniform heat soak across all the optics, and space refers to a gradient across the optics resulting in each lens (and housing) being a different temperature, or there being a radial change in temperature across an optic.  A temperature increase will result in any or all of the following effects:

- surface radii increase,

- changing a spherical surface to an aspheric surface

- increase in the spacing between lenses

- increase or decrease of the refractive indices of the optics

- decrease in the refractive index of air

- strain on the optical elements resulting in warping and bi-refringence

The magnitude of temperature effects are controlled by the coefficients ( and (.  ( is the linear coefficient of thermal expansion (CTE) and is defined as:

eqn 1

( is the thermal coefficient of refractive index and is defined as:

eqn 2

Both ( and ( are used to calculate the two thermo-optic coefficients (( and () that determine the impact of temperature on lens performance.  These coefficients will be examined further later.  A table listing the coefficients for infrared materials and plastics are listed in table 1.  These materials are listed because they present the largest problems for athermal designing.  Glasses tend to be minimally impacted by temperature.

Spatial temperature distribution:

It is common to see constant varying temperature changes in optical systems.  These may occur in the form of gradients across the optical system or across the optical elements themselves, and may even include differences between the housing temperatures and the optics.  The impact of these gradients can be determined by the first thermo-optic coefficient (.   It is used to determine the optical path difference (OPD) caused by the temperature gradients.  The impact on the OPD is shown in equation 3 (where S is the lens thickness), and ( is calculated by the formula in equation 4.

eqn 3

eqn 4

Varying material types have different ( coefficients, and result in different performance impacts from radial gradients.  To reduce thermal gradients, it is important to select materials that can absorb large amounts of heat with small resulting temperature rise, and conduct this heat away rapidly.

Glasses:  Most glasses have ( values in the range of 5 to 25x10-6 which will result in a large wavefront error for a relative small dT.  For example, a 10mm thick BK7 element with a dT = 10(C will result in a dW of 1.25(.  Some glasses (FK and PK glasses from Schott and Ohara) have been specifically manufactured to have small or negative ( values to eliminate this problem.

Plastics: ( values are in the range of –100 to –200x10-6 in addition to having very low thermal conductivities result in the potential of very large thermal conductivities.  For example, a polycarbonate lens with the same gradient as the previous BK7 lens would have a wavefront error 10x that of the BK7 lens.

Infrared materials:  The alkali metal halides have negative ( values between –10 to –120x10-6 while more common materials like germanium, ZnS, and the chalcogenide glasses exhibit ( values between 50 to 150x10-6.  Even though these ( values are large, materials like germanium have significant thermal capacity and conductivity resulting in more uniform heat transfer.

Reflectors:  pure mirror system thermal properties are determined solely by their expansion coefficients.  Lightweighting mirror reduce heat capacity and thus improves uniformity across the surface.

Uniform thermal soak:

When a uniform change in temperature occurs, the primary impact is to produce a change in focus position.  This can be represented by the second thermo-optic coefficient ( represented by equation 5.  This coefficient relates to focus via equation 6.

eqn 5

eqn 6

Optical glasses with small ( are the result of balancing the change in focal length due to an expansion of the surface radii, with a decrease, due to higher index.  Like the ( coefficient, both infrared materials and plastics exhibit ( values more extreme than glasses.  The effects of ( can be accommodated by one of three athermalization methods: passive optical, passive mechanical, and active mechanical.

Passive optical athermalization:

Passive optical is where the optics are designed to not change focus over a temperature range by using the different properties of the different lens materials to compensate for themselves.  No moving parts are thus employed, but very careful attention needs to be paid to the selection of the glasses and housings.  The goal of athermalization is not necessarily to maintain the same focus relative to the lenses, but rather relative to the mount structure.  The impact of athermalization varies based on the type of lens material that is being used:

Glasses:  If a single lens is being used, then it is simple enough to choose a glass that has a ( that matches the -( of the housing material.  For the case of an aluminum housing, this would be either an FK or PK glass.  In general, something more complicated like a doublet will be needed to balance out both the thermal effects and chromatic effects.  It is possible to find a solution for a doublet that is both athermalized and achromatized by equation 7 where (1 and (2 are the individual thermo-optical coefficients for each glass and (D is the desired coefficient for the doublet.  This value can then be used to match that of the mount.

eqn 7

This returns approximately 150 doublet pairs that have a -(D within 0.5x10-6 of aluminum.

Infrared materials: The majority of athermalization work is performed in the infrared due to the large dN/dT values associated with this waveband.  Since optics are generally diffraction limited in this spectral band, the amount of acceptable focus aberrations can be limited to (/4 and an acceptable temperature range can be calculated by equation 8.

eqn 8

It can then be calculated that a 500mm germanium lens at f/5 will only be allowed a temperature change of 8(C.  In addition, it has a ( value that is opposite in sign of housing materials resulting in a further decrease.  There is one reasonable material (KRS5) available to athermalize with germanium.  However, this will result in increase chromatic aberration, not to mention that KRS5 is toxic to the touch!  In order to both achromatize and athermalize in the infrared it is necessary to use at least a triplet.  A three lens system with thin and close together lenses of total power K will be achromatic and athermal if equations 9-11 hold true.

eqn 9

eqn 10

eqn 11

Solving for this results in the best combination of lenses being Ge/ZnS/KRS5 or ZnS/AMTIR1/Ge if KRS5 is not considered an acceptable solution.

Plastics:  Although only a few materials exist, it is possible to athermalize plastic lenses.  Using equation 9-11, the author finds a solution using acrylic, polystyrene, and SAN with a polycarbonate plastic mount.   The limited number of materials does limit the feasible solution set, and most desired configurations may not have a solution.

Reflective systems:  Since dN/dT needs not be considered, the value of ( only needs to equal -( of the mount.  In a simple two mirror Cassegrain system, the author suggests that any design can be athemalized.  The simplest method of accomplishing this is to utilize the same material for the mirrors as the housing.  In other words, if you use aluminum mirrors and an aluminum housing, your system should be athermalized.

Passive mechanical athermalization:

Since it appears to not always be reasonable to optimize a system to be athermalized optically, a mechanical solution is often preferred, especially with more complex systems.  This can be accomplished by inserting spacers within the housing of different materials that will a lens or set of lenses to shift a desired amount.  By combining spacers of length L1 and L2 with varying expansion coefficients (1 and (2 it is possible to produce an effective expansion coefficient as described in equation 12.

eqn 12

In this case, all motion of lenses or expansion of housings are controlled by changes in temperature only, and requires no power changes.

Active mechanical athermalization:

In a complex system, the simplest alternative may be to use active mechanical athermalization where lenses are moved via motors as a brute force solution to maintaining focus over temperature.  This is particularly useful when a focus mechanism already exists.

# Conclusions

This paper thoroughly investigates the requirements for athermalization of different materials in different types of systems.  It also provides good references of coefficients for glasses, plastics, liquids, housings, and infrared materials to be used when designing or analyzing the athermalization of a system.  This paper also covers some information about the use of optical design programs to do the necessary calculations to athermalize systems.  The coefficients from the programs can be used, or your own can be entered.  The important thing to note is that for very complex systems, this is easiest way to analyze what the impact will be on the system.

Table 1:  coefficients for infrared and plastic materials

# Text boxes

Material

Index (n)

Abbe value (()

Expansion coefficient (()

Index coefficient (()

(

( (x10-6)

Germanium

4.00

861.03

5.70

392.14

124.87

136.27

Silicon

3.43

241.00

2.50

156.69

61.93

66.93

ZnSe

2.41

57.84

7.60

56.86

34.12

49.32

ZnS

2.20

22.76

7.90

40.88

26.17

41.97

CdTe

2.68

148.79

4.50

95.42

52.46

61.46

AMTIR1

2.50

119.97

13.00

69.59

33.47

59.47

GaAs

3.28

107.00

5.90

146.84

58.56

70.36

KRS5

2.37

164.73

61.00

-236.29

-233.22

-111.22

KCl

1.46

30.27

36.00

-28.90

-99.25

-27.25

KBr

1.53

61.45

27.60

-41.47

-106.44

-51.24

KI

1.62

89.26

42.60

-51.56

-125.76

-40.56

NaCl

1.49

18.65

44.00

-26.44

-97.44

-9.44

CsBr

1.66

132.30

47.90

77.40

68.84

164.64

CsI

1.74

236.20

50.00

-91.68

-174.05

-74.05

Acrylic

1.4918

57.46

62

-105

-278.4

-154.4

Polycarbonate

1.5855

29.91

68

-107

-253.4

-117.4

Polystyrene

1.5905

30.87

50

-140

-289.7

-189.7

SAN

1.5674

34.81

50

-110

-246.5

-146.5