## Sheet1
Specialized Equipment
Item/System | Location | Contact name | Phone | Email | Restrictions
Hologram Writing Setup (532 nm, Fe-LiNbO3) | RM 663 | Yuzuru Takaskima | 626-6992 | ytakashima@optics.arizona.edu | LA, TR, IS
Pico second laser pulser and Detector | RM 663 | Yuzuru Takaskima | 626-6992 | ytakashima@optics.arizona.edu | None
Hamamatsu IR camera (Slow, but usable | RM 663 | Yuzuru Takaskima | 626-6992 | ytakashima@optics.arizona.edu | None
USB Line sensor (LabView Comaptible) | RM 663 | Yuzuru Takaskima | 626-6992 | ytakashima@optics.arizona.edu | None
Ethernet Camera (LabView Compatible) | RM 663 | Yuzuru Takaskima | 626-6992 | ytakashima@optics.arizona.edu | None
Various Nikon Mount Prime Focus Lenses | RM 663 | Yuzuru Takaskima | 626-6992 | ytakashima@optics.arizona.edu | None
COMSOL Multiphysics Package(RF module for photonics design, Structural module) | RM 663 | Yuzuru Takaskima | 626-6992 | ytakashima@optics.arizona.edu | LA, TR
WYKO NT2000 (two objectives missing) | RM 106E | Ron Liang | 621-4995 | rliang@optics.arizona.edu | None
Nanotech 350FG freeform generator | RM 129 | Ron Liang | 621-4996 | rliang@optics.arizona.edu | RO
2D Contact Surface Profilometer http://www.mahr.com/index.php?NodeID=2698 | RM 660 | Schwiegerling |  | jschwieg@u.arizona.edu | RO, IS
Veeco NT 9800 Surface Profilometer | RM 753 | Tom Milster | 621-8280 | milster@optics.arizona.edu | LA, RO, TR, IS
Hitachi S3400N Scanning Electron Microscope | RM 753 | Tom Milster | 621-8280 | milster@optics.arizona.edu | LA, RO, TR, IS
Custom laser writer for binary and gray scale lithography | RM 753 | Tom Milster | 621-8280 | milster@optics.arizona.edu | LA, RO, TR, IS
G-Line 5X Projection camera lithography (0.5um features) | RM 753 | Tom Milster | 621-8280 | milster@optics.arizona.edu | LA, RO, TR, IS
Wide selection of bare optical detectors-pins, quad, APD, etc | RM 757 | Tom Milster | 621-8280 | milster@optics.arizona.edu | Free
Norland UV Curing System | RM 101 | Todd Horne | 203-2507 | hornet@optics.arizona.edu | None
Lakeshore 340 Cryogenic Temp. Controller Qt. 2 | RM 101 | Todd Horne | 203-2507 | hornet@optics.arizona.edu | None
Physik Instrumente PZT Amplifier / Controller | RM 101 | Todd Horne | 203-2507 | hornet@optics.arizona.edu | None
Newport Neutral Density Filter Set | RM 101 | Todd Horne | 203-2507 | hornet@optics.arizona.edu | None
Faro Arm CMM | RM 101 | Todd Horne | 203-2507 | hornet@optics.arizona.edu | TR
16” Aerotech Gimble Mirror Mounts Qt. 2 | RM 101 | Todd Horne | 203-2507 | hornet@optics.arizona.edu
TESA micro-hite 3D CMM | RM 101 | Todd Horne | 203-2507 | hornet@optics.arizona.edu | TR, IS
Instron Pull Tester to 900 lbs | RM 101 | Todd Horne | 203-2507 | hornet@optics.arizona.edu | TR, IS
4D Phasecam 4010 | RM 101 | Todd Horne | 203-2507 | hornet@optics.arizona.edu | LA, RO, TR
Optical Perspectives Group Vertical Lens Centering Station | RM 101 | Todd Horne | 203-2507 | hornet@optics.arizona.edu | TR, IS
Zygo Mark GPI Interferometer | RM 101 | Todd Horne | 203-2507 | hornet@optics.arizona.edu | LA, RO, TR
Intellium H1000 Interferometer | RM 101 | Todd Horne | 203-2507 | hornet@optics.arizona.edu | LA, RO, TR
Optical Perspectives Point Source Microscope (PSM) Qt. 3 | RM 101 | Todd Horne | 203-2507 | hornet@optics.arizona.edu | LA, TR
New Focus Picomotor Ethernet Controller Qt. 4, Driver Qt. 5, Joystick Qt. 4 | RM 101 | Todd Horne | 203-2507 | hornet@optics.arizona.edu | None
Thor Labs servo Controller Qt. 5, Actuator Qt. 2 | RM 101 | Todd Horne | 203-2507 | hornet@optics.arizona.edu
Horiba VS7000 Visible Light Spectrometer | RM 101 | Todd Horne | 203-2507 | hornet@optics.arizona.edu | TR
Elcomat 3000 Autocollimator | RM 101 | Todd Horne | 203-2507 | hornet@optics.arizona.edu | LA, TR
Keyence High Sensitivity Prox. Sensor | RM 101 | Todd Horne | 203-2507 | hornet@optics.arizona.edu | LA, RO, TR
Leica Leicatraker LTD 600 Laser tracker | RM 101 | Todd Horne | 203-2507 | hornet@optics.arizona.edu | LA, RO, TR
Faro XIV 2 Laser Tracker | RM 101 | Todd Horne | 203-2507 | hornet@optics.arizona.edu | LA, RO, TR
Large Assortment of MDrive Serial Command Stepper Motors | RM 101 | Todd Horne | 203-2507 | hornet@optics.arizona.edu | None
Assortment of Electronic Bench Test Equipment | RM 101 | Todd Horne | 203-2507 | hornet@optics.arizona.edu | None
Large Assortment of Load Cells | RM 101 | Todd Horne | 203-2507 | hornet@optics.arizona.edu | None
Large Assortment of Load Cells | RM 101 | Todd Horne | 203-2507 | hornet@optics.arizona.edu | TR
Largest Hardware Collection in the Meniel Building | 106A | Todd Horne | 203-2507 | hornet@optics.arizona.edu | None